| ### Electromagnetic ballasts |  |  |
| --- | --- | --- |
| Type: Q250.528 230V/50HZ Item number: 167367. Standard version Vacuum-impregnated with polyester resin. Lamp type:; HM. Output [W]:; 0250. Ignition system:; Superimposed. Voltage [V]:; 230. Protection class:; Class of protection I. Encapsulated:; No. Thermal cut-out:; Without thermal cut-out. Shape [mm*mm]:; 53x66. Stack length [mm]:; 075. Fixing centre [mm]:; 120. Overall length [mm]:; 145. Delta t Max. [K]:; 75. Connection terminal [mm2]:; Screw terminal. Weight [kg]:; 2,0200. Frequency [Hz]:; 50. Unit: 6 pcs.. tw 130 EN 61347 (Safety) EN 60923 (Working method). Received approbations:; ENEC-VDE.. |  |  |
|  |  | For a large drawing of item 167367 please click on the thumbnail-picture:. |