{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Feuil1 (2)"],"not_rendered":{"charts":1,"images":1,"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Feuil1 (2)","index":0,"n_rows":78,"n_cols":21,"rows_kept":78,"flags":["formulas_cached_only"]}
[]
[null,null,"Calcul de canalisation"]
[null,null,"( diametre , débit , vitesse )"]
[]
[null,"Données :","( remplir 2 cases seulement )"]
[]
[null,"diametre :",{"v":288,"d":"288.00"},"mm","section :",{"v":65144.06526483795,"d":"65144.07"},"mm²"]
[]
[null,"vitesse :",{"v":0,"d":"0.00"},"m / s"]
[]
[null,"débit :",{"v":300,"d":"300.00"},"m3 / heure"]
[]
[null,"Résultats :"]
[]
[null,"diametre :",{"v":288,"d":"288.00"},"mm"]
[]
[null,"vitesse :",{"v":1.2792160420837781,"d":"1.28"},"m / s",{"v":4.605177751501602,"d":"4.61"},"km/h"]
[]
[null,"débit :",{"v":300,"d":"300.00"},"m3 / heure","<===>",{"v":83.33333333333333,"d":"83.33"},"L / sec",{"v":5000,"d":"5000.0"},"L / mn"]
[]
[]
[null,null,"hauteur du jet d'eau vertical en sortie de tuyau"]
[]
[null,"hauteur :",{"v":83.40436709095242,"d":"83"},"mm"]
[]
[]
[null,null,"longueur du jet d'eau  en sortie de tuyau",{"$nulls":11},"temps ","v*cos(a)","X","gt²/2","Yo","v*sin(a)","Y"]
[{"$nulls":11},0.09220615065851738,null,0,{"v":0,"d":"0.000"},{"v":0.9045423379600556,"d":"0.905"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0,"d":"0.000"}]
[{"$nulls":13},1,{"v":0.0036882460263406944,"d":"0.004"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.0033361746836380966,"d":"0.003"},{"v":6.672349367276192e-05,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.0032694511899653343,"d":"0.003"}]
[null,"angle / horizontale :",{"v":45,"d":"45.00"},"°"," ",{"$nulls":6},0.9045423379600555,null,2,{"v":0.007376492052681389,"d":"0.007"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.006672349367276193,"d":"0.007"},{"v":0.0002668939746910477,"d":"0.000"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.006405455392585145,"d":"0.006"}]
[{"$nulls":13},3,{"v":0.011064738079022083,"d":"0.011"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.01000852405091429,"d":"0.010"},{"v":0.0006005114430548572,"d":"0.001"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.009408012607859432,"d":"0.009"}]
[null,"hauteur Yo :",0,"mm"," ",{"$nulls":6},0.8181968411622432,null,4,{"v":0.014752984105362778,"d":"0.015"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.013344698734552386,"d":"0.013"},{"v":0.0010675758987641908,"d":"0.001"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.012277122835788194,"d":"0.012"}]
[{"$nulls":13},5,{"v":0.01844123013170347,"d":"0.018"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.01668087341819048,"d":"0.017"},{"v":0.0016680873418190474,"d":"0.002"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.01501278607637143,"d":"0.015"}]
[null,"Résultats :",{"$nulls":9},0.9045423379600555,null,6,{"v":0.022129476158044163,"d":"0.022"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.020017048101828576,"d":"0.020"},{"v":0.0024020457722194284,"d":"0.002"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.017615002329609143,"d":"0.018"}]
[{"$nulls":13},7,{"v":0.025817722184384856,"d":"0.026"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.02335322278546667,"d":"0.023"},{"v":0.0032694511899653326,"d":"0.003"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.020083771595501336,"d":"0.020"}]
[null,"longueur d :",{"v":166.8087341819048,"d":"167"},"mm",{"$nulls":7},166.8087341819048,null,8,{"v":0.02950596821072555,"d":"0.030"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.026689397469104766,"d":"0.027"},{"v":0.00427030359505676,"d":"0.004"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.022419093874048,"d":"0.022"}]
[{"$nulls":13},9,{"v":0.03319421423706624,"d":"0.033"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.03002557215274286,"d":"0.030"},{"v":0.0054046029874937115,"d":"0.005"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.024620969165249147,"d":"0.025"}]
[null,"T max :",{"v":0.18441230131703473,"d":"0.184"},"secondes",{"$nulls":9},10,{"v":0.036882460263406934,"d":"0.037"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.033361746836380955,"d":"0.033"},{"v":0.006672349367276188,"d":"0.007"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.02668939746910476,"d":"0.027"}]
[{"$nulls":13},11,{"v":0.04057070628974763,"d":"0.041"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.03669792152001905,"d":"0.037"},{"v":0.008073542734404186,"d":"0.008"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.028624378785614857,"d":"0.029"}]
[{"$nulls":10},"t max :",0.18441230131703473,null,12,{"v":0.04425895231608832,"d":"0.044"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.040034096203657145,"d":"0.040"},{"v":0.009608183088877708,"d":"0.010"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.030425913114779428,"d":"0.030"}]
[{"$nulls":13},13,{"v":0.04794719834242901,"d":"0.048"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.04337027088729524,"d":"0.043"},{"v":0.011276270430696757,"d":"0.011"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.03209400045659848,"d":"0.032"}]
[{"$nulls":10},"t+ marge :",0.20285353144873822,null,14,{"v":0.051635444368769705,"d":"0.052"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.046706445570933335,"d":"0.047"},{"v":0.013077804759861327,"d":"0.013"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.033628640811072,"d":"0.034"}]
[{"$nulls":13},15,{"v":0.0553236903951104,"d":"0.055"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.05004262025457143,"d":"0.050"},{"v":0.01501278607637142,"d":"0.015"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.035029834178200006,"d":"0.035"}]
[{"$nulls":10},"t/50 :",0.0036882460263406944,null,16,{"v":0.05901193642145109,"d":"0.059"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.053378794938209524,"d":"0.053"},{"v":0.017081214380227038,"d":"0.017"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.036297580557982476,"d":"0.036"}]
[{"$nulls":13},17,{"v":0.06270018244779178,"d":"0.063"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.05671496962184762,"d":"0.057"},{"v":0.01928308967142818,"d":"0.019"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.03743187995041943,"d":"0.037"}]
[{"$nulls":13},18,{"v":0.06638842847413248,"d":"0.066"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.06005114430548572,"d":"0.060"},{"v":0.021618411949974846,"d":"0.022"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.03843273235551087,"d":"0.038"}]
[{"$nulls":13},19,{"v":0.07007667450047318,"d":"0.070"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.06338731898912382,"d":"0.063"},{"v":0.02408718121586704,"d":"0.024"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.03930013777325677,"d":"0.039"}]
[{"$nulls":13},20,{"v":0.07376492052681388,"d":"0.074"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.06672349367276192,"d":"0.067"},{"v":0.02668939746910476,"d":"0.027"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.04003409620365715,"d":"0.040"}]
[{"$nulls":13},21,{"v":0.07745316655315458,"d":"0.077"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.07005966835640003,"d":"0.070"},{"v":0.029425060709688002,"d":"0.029"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.04063460764671201,"d":"0.041"}]
[{"$nulls":13},22,{"v":0.08114141257949528,"d":"0.081"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.07339584304003813,"d":"0.073"},{"v":0.032294170937616766,"d":"0.032"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.04110167210242135,"d":"0.041"}]
[{"$nulls":13},23,{"v":0.08482965860583598,"d":"0.085"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.07673201772367623,"d":"0.077"},{"v":0.03529672815289106,"d":"0.035"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.041435289570785155,"d":"0.041"}]
[{"$nulls":13},24,{"v":0.08851790463217668,"d":"0.089"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.08006819240731433,"d":"0.080"},{"v":0.038432732355510875,"d":"0.038"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.04163546005180344,"d":"0.042"}]
[{"$nulls":13},25,{"v":0.09220615065851738,"d":"0.092"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.08340436709095243,"d":"0.083"},{"v":0.04170218354547622,"d":"0.042"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.0417021835454762,"d":"0.042"}]
[{"$nulls":13},26,{"v":0.09589439668485808,"d":"0.096"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.08674054177459053,"d":"0.087"},{"v":0.04510508172278708,"d":"0.045"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.04163546005180344,"d":"0.042"}]
[{"$nulls":13},27,{"v":0.09958264271119878,"d":"0.100"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.09007671645822864,"d":"0.090"},{"v":0.04864142688744347,"d":"0.049"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.041435289570785155,"d":"0.041"}]
[{"$nulls":13},28,{"v":0.10327088873753948,"d":"0.103"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.09341289114186672,"d":"0.093"},{"v":0.05231121903944537,"d":"0.052"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.041101672102421355,"d":"0.041"}]
[{"$nulls":13},29,{"v":0.10695913476388018,"d":"0.107"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.09674906582550483,"d":"0.097"},{"v":0.05611445817879281,"d":"0.056"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.040634607646712013,"d":"0.041"}]
[{"$nulls":13},30,{"v":0.11064738079022088,"d":"0.111"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.10008524050914293,"d":"0.100"},{"v":0.06005114430548577,"d":"0.060"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.04003409620365716,"d":"0.040"}]
[{"$nulls":13},31,{"v":0.11433562681656158,"d":"0.114"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.10342141519278103,"d":"0.103"},{"v":0.06412127741952425,"d":"0.064"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.03930013777325676,"d":"0.039"}]
[{"$nulls":13},32,{"v":0.11802387284290228,"d":"0.118"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.10675758987641913,"d":"0.107"},{"v":0.06832485752090826,"d":"0.068"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.038432732355510854,"d":"0.038"}]
[{"$nulls":13},33,{"v":0.12171211886924298,"d":"0.122"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.11009376456005723,"d":"0.110"},{"v":0.0726618846096378,"d":"0.073"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.037431879950419425,"d":"0.037"}]
[{"$nulls":13},34,{"v":0.12540036489558368,"d":"0.125"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.11342993924369534,"d":"0.113"},{"v":0.07713235868571286,"d":"0.077"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.03629758055798246,"d":"0.036"}]
[{"$nulls":13},35,{"v":0.12908861092192436,"d":"0.129"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.11676611392733342,"d":"0.117"},{"v":0.08173627974913342,"d":"0.082"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.03502983417819999,"d":"0.035"}]
[{"$nulls":13},36,{"v":0.13277685694826505,"d":"0.133"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.12010228861097151,"d":"0.120"},{"v":0.08647364779989951,"d":"0.086"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.03362864081107199,"d":"0.034"}]
[{"$nulls":13},37,{"v":0.13646510297460573,"d":"0.136"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.1234384632946096,"d":"0.123"},{"v":0.0913444628380111,"d":"0.091"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.03209400045659848,"d":"0.032"}]
[{"$nulls":13},38,{"v":0.14015334900094642,"d":"0.140"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.1267746379782477,"d":"0.127"},{"v":0.09634872486346825,"d":"0.096"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.03042591311477942,"d":"0.030"}]
[{"$nulls":13},39,{"v":0.1438415950272871,"d":"0.144"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.1301108126618858,"d":"0.130"},{"v":0.1014864338762709,"d":"0.101"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.028624378785614857,"d":"0.029"}]
[{"$nulls":13},40,{"v":0.1475298410536278,"d":"0.148"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.13344698734552388,"d":"0.133"},{"v":0.10675758987641909,"d":"0.107"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.02668939746910476,"d":"0.027"}]
[{"$nulls":13},41,{"v":0.15121808707996848,"d":"0.151"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.13678316202916196,"d":"0.137"},{"v":0.1121621928639128,"d":"0.112"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.02462096916524914,"d":"0.025"}]
[{"$nulls":13},42,{"v":0.15490633310630916,"d":"0.155"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.14011933671280005,"d":"0.140"},{"v":0.11770024283875201,"d":"0.118"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.022419093874048016,"d":"0.022"}]
[{"$nulls":13},43,{"v":0.15859457913264985,"d":"0.159"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.14345551139643814,"d":"0.143"},{"v":0.12337173980093676,"d":"0.123"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.020083771595501357,"d":"0.020"}]
[{"$nulls":13},44,{"v":0.16228282515899053,"d":"0.162"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.14679168608007623,"d":"0.147"},{"v":0.12917668375046704,"d":"0.129"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.017615002329609164,"d":"0.018"}]
[{"$nulls":13},45,{"v":0.16597107118533122,"d":"0.166"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.15012786076371432,"d":"0.150"},{"v":0.13511507468734282,"d":"0.135"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.015012786076371465,"d":"0.015"}]
[{"$nulls":13},46,{"v":0.1696593172116719,"d":"0.170"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.1534640354473524,"d":"0.153"},{"v":0.14118691261156413,"d":"0.141"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.012277122835788246,"d":"0.012"}]
[{"$nulls":13},47,{"v":0.1733475632380126,"d":"0.173"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.1568002101309905,"d":"0.157"},{"v":0.14739219752313099,"d":"0.147"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.009408012607859478,"d":"0.009"}]
[{"$nulls":13},48,{"v":0.17703580926435328,"d":"0.177"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.16013638481462858,"d":"0.160"},{"v":0.15373092942204333,"d":"0.154"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.006405455392585219,"d":"0.006"}]
[{"$nulls":13},49,{"v":0.18072405529069396,"d":"0.181"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.16347255949826667,"d":"0.163"},{"v":0.16020310830830123,"d":"0.160"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0.003269451189965411,"d":"0.003"}]
[{"$nulls":13},50,{"v":0.18441230131703465,"d":"0.184"},{"v":0.9045423379600556,"d":"0.905"},{"v":0.16680873418190476,"d":"0.167"},{"v":0.16680873418190464,"d":"0.167"},{"v":0,"d":"0.000"},{"v":0.9045423379600555,"d":"0.905"},{"v":0,"d":"0.000"}]